## Sheet1
Selection Table-IoT Edge Gateway
Model |  | USR-M100 | USR-M100-HM | USR-M300
|  | USR-M100-ETH USR-M100-EAU (4G version) | USR-M100-HMETH USR-M100-HMGL(4G version) | USR-M300-ETH USR-M300-GL(4G version)
Edge Gateway | OS | RT-Thread | Open Harmony | Linux MIPS
| Number of Points | 300 | 1000 | 2000
| Source of Points | Serial Port, Ethernet port, IO,Virtual Points (Inter-point Calculation) | Serial Port, Ethernet port, IO,Virtual Points (Inter-point Calculation) | Serial Port, Ethernet port, IO,Virtual Points (Inter-point Calculation)
| Batch Operation of Points | Point List Import/Export CSV | Point List Import/Export CSV | Point List Import/Export CSV
| Acquisition Protocol | Modbus RTU/TCP Industry Protocol：DL/T 645(2007) | Modbus RTU/TCP Industry Protocol：DL/T 645(2007) | Modbus RTU/TCP Industry Protocol（DL/T 645(2007),IEC104,IEC61850,Bacnet，DNP3.0）
| Active Reporting | 1 Groups, JSON Template Reporting | Multiple Groups, Custom JSON Templates for each group | Multiple Groups, Custom JSON Templates for each group
| Change Reporting | Changes in Points within the JSON Template, All Points Reporting | Single Point Reporting and Group Template Reporting are Optional | Group Change Reporting
| Protocol Conversion | Modbus RTU Modbus TCP Json | Modbus RTU Modbus TCP Json | Modbus RTU Modbus TCP Json bacnet OPC UA（Server） IEC104
|  | Link Selection, Common Reporting | Link Selection, choose 1 of 4 | TCP, Independent Link
| Power Fail Storage | × | × | ×
| Resume Transmission on Network Reconnection | × | TF Card Storage | Memory（2G）
Linked Control | Linked Events | 10 | 30 | 50
| Trigger Method | Single Point Trigger | Single Point Trigger | Multi-point Trigger
| Linked Trigger | DO Active | DO Action, SMS Alarm | DO Action, Cloud Alarm, SMS Alarm, Write Points
Network | Etherent Port | 1*WAN | 1*WAN | 1*WAN/LAN+1*LAN
| 4G Cellular (Optional) | 4G Cat4 | 4G Cat 4 | 4G Cat4
| WiFi | / | / | /
Positioning | GNSS/GPS | / | Base Station Positioning / GNSS Positioning | Base Station Positioning / GNSS Positioning
Serial Port | Serial Port | 1*RS485/RS232+1*RS485 | 1*RS485/RS232+1*RS485 | 1*RS485/RS232+1*RS485
IO | IO | 2DI+2AI+2DO Expandable (up to 6 expansion units) | 2DI+2AI+2DO Expandable (up to 6 expansion units) | 2DI+2AI+2DO Expandable (up to 6 expansion units)
Communication Link | Protocol | TCP/UDP/HTTP/MQTT（Single Channel） | TCP*2+MQTT*2（4 Channels） | TCP/HTTP/MQTT（2 Channels）
| Cloud Service | Alibaba Cloud/AWS/Huawei Cloud/Thingsboard | Alibaba Cloud/AWS/Huawei Cloud/Thingsboard | Alibaba Cloud/AWS/Huawei Cloud/Thingsboard
| Encryption | SSL | SSL | SSL
| Transparent Transmission | √ | × | ×
Router | Static Routing | × | × | √
VPN | VPN | × | × | PPTP/L2TP/OpenVPN
Node-Red | Graphical Design | × | × | √
Pusr Cloud | Pusr Cloud | Edge Computing/Cloud Monitoring/Remote Configuration/Firmware Upgrade | Edge Computing/Cloud Monitoring/Remote Configuration/Firmware Upgrade | Edge Computing/Cloud Monitoring/Remote Configuration/Firmware Upgrade
| Point table synchronization mode | Cloud deployment delivers the configuration point table to the device | The device uploads its configuration point table to the cloud. | The device uploads its configuration point table to the cloud.
SNMP | SNMP | SNMP V3 | × | ×
Synchronize Time | Sytem Time | NTP/Synchronize Browser Time | NTP/Synchronize Browser Time/Manual Setting | NTP/Synchronize Browser Time/Manual Setting
Firewall | Firewall | × | × | √